USER STORIES:

US1 - As a user i want to be able to see the updated data related to every REST sensor in a dashboard

US2 - As a user i want to be able to add an automation rule using an interface

US3 - As a user i want to be able to delete an automation rule from the interface

US4 - As a user i want to be able to manually control (turn on or off) an activator from the dashboard

US5 - As a user i want to know the state of the connection with the IoT sensors

US6 - As a user i want my automation rules to be persistent even if the system is rebooted

US7 - As a user i want the system to be able to recognize changes in the values registered by the sensors and enforce the corresponding automation rule
US8 - As a user i want to be able to know the state of the actuators

US9 - As a user i want to receive a message if the application of a rule/manual control of an activator fails
US10

Dashboard showing all the latest reading from the sensors and actuators status. From it it should be possible to use some interface that allow to navigate existing automation rules, with the possibility of removing existing ones or add new ones.

In the same page pop-up messages (or in another way) should appear to let the user know that some automation rule has been applied successfully or it has failed.

It should be possible to enforce command to the actuator directly by the user at anytime from an interface reachable from the dashboard. Maybe a button near every measurement to activate the actuators that can modify that value

Reading of sensor and actuators status should be made periodically by the system but it should also be possible to require an update from the user at any time.

INPUT DATA FORMAT:

All data is a JSON file. Here is reported the way the payload is presented by the sensor, inside the properties field of the JSON file.

Greenhouse temperature, Entrance humidity, Atrium CO2 (hall),Corridor pressure:

{

"sensor_id": "string",

"captured_at": "ISO8601-datetime",

"metric": "string", "value": number, "unit": "string",

"status": "ok" | "warning"

}

pH idroponico, VOC air quality:

{

"sensor_id": "string",

"captured_at": "ISO8601-datetime",

"measurements": [

{ "metric": "string", "value": number, "unit": "string" }

],

"status": "ok" | "warning"

}

Quality of air PM2.5:

{

"sensor_id": "string",

"captured_at": "ISO8601-datetime",

"pm1_ug_m3": number,

"pm25_ug_m3": number,

"pm10_ug_m3": number,

"status": "ok" | "warning"

}

Water tank level:

{

"sensor_id": "string",

"captured_at": "ISO8601-datetime",

"level_pct": number,

"level_liters": number,

"status": "ok" | "warning"}

NORMALIZED DATA FORMAT:

json

{

"event_id”: number,                               	an id given to every event, incremental

"source": number ,                    		id of the sensor from which data came

"type": “string”,                                		to what it refers

"payload":[]			          		actual data contained by the data

"status": "ok" | "warning"	          		status describing the system

"processed_at": “time_stamp”        		time stamp of when data was elaborated

}

ARCHITECTURE LAYOUT:

- Pooler: request data from rest sensors

- Normalizer: convert the data collected by the pooler into a json normalized  format

- Rule engine: receive the normalized data and enforce rules if needed

- Frontend: dashboard to present data to the user, allow him to handle rules and
                activate actuators when he think it is necessary

- Message broker: handles message delivery

- DB: should contain all the rules and be consistent i.e. even with reboot rules should
       be kept

The project will be developed using python and implementing an independent container for each of the services provided. It should be decided if to unify the pooler and the normalizer under the same container or to keep the two services separated.